## Slide 1: Kuliah 10 Instrumentasi Bioteknologi
IMAGING : Confocal Microscope , Scanning Electron Micrograph, Transmission Electron Micrograph

## Slide 2
. This was delivered new in 1868 to Max Johann Sigismund Schultze, (March 25, 1825 - January 16, 1874) a microscopic anatomist noted for his work in Greifswald on cell theory. From Company Seven's collection, presently displayed at our showroom museum - and its clarity of view is still amazing (image 57,655 bytes).
1632-1727
Anton Van Leeuwenhoek : menemukan mikroskop sederhana dengan lensa kecil perbesaran 270x
Robert Hooke : Membuat tiruan dari mikroskop Leeunwenhoek dan menggunakannya untuk mengkonfirmasi obervasi yang dilakukan Van Leeuwenhoek dan memperbaiki desainnya.
Mikroskop

## Slide 3: Mikroskop Flouresen
(Owen, Punt et al. 2013)

## Slide 4: Mikroskop Konfokal
(Owen, Punt et al. 2013)

## Slide 5
http://microscopy.berkeley.edu
Fluorescence and Laser scanning microscope

## Slide 6
Mikroskop tipe lain
Mikroskop cahaya:
Bright field
Dark Field
Phase Contrast
Nomarski
2. Electron microscope:
Transmission Electron Microscopy (TEM),
Scanning Electron Microscopy (SEM),
Reflection Electron Microscopy (REM),
Scanning Transmission Electron Microscopy (STEM)

## Slide 7
Transmission Electron Microscopy (TEM)

## Slide 8
Transmission Electron Microscopy (TEM)

## Slide 9
Brightfield vs Phase Contrast

## Slide 10
Mikroskop Tipe Lain
3. Atomic force microscopy (AFM) or scanning force microscopy (SFM)
“one of the foremost tools for imaging, measuring, and manipulating
matter at the nanoscale”
http://www.npl.co.uk/news/the-extracellular-matrix

## Slide 11
Manipulate
Molecules , cells, tissues modification
Fixation (using formaldehyde, ethanol, aceton etc)
Stabilize cell morphology and tissue architecture
Disable proteolytic enzymes
Strengthen samples to withstand further processing and staining
Protect samples against microbial contamination and decomposition
Permeabilization (using tween, triton x, saponin etc)
Staining (fluorophore, antibody conjugated fluorophore)
Mounting (Mouviol, antifade..)
4 Steps in Bioimaging

## Slide 12
2. Measure
Acquisition of Images with various methods by managing technique
Minimizing Noise
Reducing unwanted room light
Reducing unwanted light
Other : vibration electromagnetic interference, contamination

## Slide 13
Analysis of acquired images by focusing on the point of interest
3. Mine

## Slide 14
4. Model
Developing algorithms to model and
Assemble the knowledge gained from the imaging initiative
A novel method using fluorescence microscopy for real-time assessment of ATP release from individual cells
Ross Corriden , Paul A. Insel , Wolfgang G. Junger
American Journal of Physiology - Cell PhysiologyPublished 1 October 2007Vol. 293no. C1420-C1425DOI: 10.1152/ajpcell.00271.2007
Orabi, Abrahim I., Nathanson, Michael H. and Husain, Sohail Z. (2011). Measuring Ca2+ dynamics in pancreatic acini using confocal microscopy. The Pancreapedia: Exocrine Pancreas Knowledge Base, DOI: 10.3998/panc.2011.30

## Slide 15
Fluorescence and Fluorophore
Fluorescence, the absorption and re-emission of photons with longer
wavelengths

## Slide 16
Various Luminescent phenomena

## Slide 17
Fluorophore and wavelength

## Slide 18
Concofal Microscope Application
Colocalization of proteins
Cell structure analysis
Host-pathogen interaction
Gen transfection
Fluorescence Resonance Energy Transfer (FRET)
etc

## Slide 19
HIV and TB in PMBC

## Slide 20
Virus detection : Immunofluorescence
Cells infected by
original virus
Cells infected by
aerosolized vrus
(PCI OFF)
Cells infected by
aerosolized virus
(PCI ON)
H1N1 (green)
H1N1 (green)
Merged)
Aerosolized virus

## Slide 21
IMR90
CS9K Fib
CS14K Fib
CSC 9K
CsBrN1
Αlpha Smooth Muscle Actin

## Slide 22
IMR90
CS9K Fib
CS14K Fib
CSC 9K
CsBrN1
Fibronectin

## Slide 23: Apoptosis
BF
PI
Annexin V

## Slide 24
Fibroblast cell layer without crowder. Red : actin with phalloidin staining, Green : Fibronectin with Primary antibody Rabbit anti human Fibronection and Secondary antibody anti rabbit conjugated with Alexa Fluor 488 staining, Blue : Nuclei with DAPI staining
Fibroblast cell layer with Dextran sulfate (DxS) crowder. Red : actin with phalloidin staining, Green : Fibronectin with Primary antibody Rabbit anti human Fibronection and Secondary antibody
Effect of molecular crowding

## Slide 25
Hasil analisis Immunofluorescent. Gambar A1,B1,C1 menunjukkan gambar sel yang difoto menggunakan sinar merkuri dan laser. Gambar A2,B2, C2 menunjukkan gambar sel menggunakan sinar laser. Adanya fluoresensi warna hijau pada B2 dan fluoresensi warna merah pada C2 menunjukkan adanya protein NA (B2) dan HA (C2) dalam sel vero pasca transfeksi dengan vektor ekspresi pCDNA3.1 mengandung insert NA(B)s dan HA (C). Sel kontrol (A1,A2) tidak menunjukkan adanya fluorensi saat dipaparkan pada laser.

## Slide 26
eGFP expression in Vero cell

## Slide 27
Visualisasi mikroskop konfokal dari potongan jaringan otot paha mencit yang divaksinasi dengan pcDNA3.1(+)eGFP. Pendaran warna hijau pada visualisasi dengan filter FITC menunjukkan bahwa protein eGFP berhasil diekspresikan oleh sel.

## Slide 28
Cell Penetrating Peptide
VP22-eGFP

## Slide 29
http://listsoplenty.com/pix/wickedly-cool-micro-imaging-pix
Welcome To The Microscope Universe